Analytical methods:

Major-element compositions of minerals from Neyriz mantle rocks were determined by JEOL wavelength dispersive electron probe X-ray micro-analyzer (JXA 8800) at Kanazawa University. Accelerating voltage, beam current, and beam diameter for the analyses were 20 kV, 20 nA, and 3 μm, respectively. Representative mineral compositions are reported in Supplemental Table S1. Trace-element abundances in peridotite clinopyroxenes were determined in-situ by LA–ICP–MS at Kanazawa University and are reported in Supplemental Table S2. Analyses were performed by ablating 60-μm diameter spots. All analyses were performed at 6 Hz with an energy density of 8 J/cm2 per pulse. Calibration was carried out by analyzing NIST 612 glass as an external standard and 29Si as an internal standard based on SiO2 concentration obtained by the electron microprobe. NIST 614 glass (secondary standard) was measured for quality control of each analysis. Precision or reproducibility is better than 5% for most elements, except Cr and Ni for which it is better than 10%. The accuracy and data quality based on the reference material (NIST 614) are high, as described by Morishita et al., (2005).

Major and trace (including Rare Earth) elements of Neyriz gabbros and lavas were analyzed using ICP-ES and ICP-MS at ACME Analytical Laboratories Ltd, Canada, following fusion with lithium metaborate/tetraborate and digestion by nitric acid. Major element analysis of the Neyriz peridotites was performed at ACME lab (Canada). Concentrations of trace elements in Neyriz peridotites were determined by Inductively Coupled Plasma Mass Spectroscopy (ICP-MS) using a Thermo Scientific X-Series2 in the Department of Earth Sciences at the University of Durham, following a standard nitric and hydrofluoric acid digestion (Ottley et al., 2003). Sample preparation was undertaken in clean air laminar flow hoods. Briefly the procedure is as follows; into a Teflon vial 4ml HF and 1ml HNO3 (SPA, ROMIL Cambridge) is added to 100 mg of powdered sample, the vial is sealed and left on a hot plate at 150 °C for 48 h. The acid mixture was evaporated to near dryness, the moist residue has 1 ml HNO3 added and evaporated again to near dryness. 1 ml HNO3 was again added and evaporated to near dryness. These steps convert insoluble fluoride species into soluble nitrate species. Finally 2.5 ml HNO3 was added and diluted to 50 ml after the addition of an internal standard giving a final concentration of 20 ppb Re and Rh. The internal standard was used to compensate for analytical drift and matrix suppression effects. Calibration of the ICP-MS was via international rock standards (BHVO-1, AGV-1, W-2, and NBS688) with the addition of an in-house peridotite standard (GP13) (Ottley et al., 2003). These standards and analytical blanks were prepared by the same techniques as for the Neyriz samples. To improve the signal-to-noise threshold for low abundances of incompatible trace elements in peridotites, instrument dwell times were increased (Ottley et al., 2003). The composition of the reference samples (W-2, AGV-1, BHVO-1, BE-N, NBS688) was analyzed as unknowns during the same analytical runs. For the analyzed elements, reproducibility of these reference samples is generally better than 2% and the measured composition compares favorably with that published information in Potts et al. (1992).

Whole rocks were analyzed for their Sr, Nd and Pb isotopic compositions at the Department of Mineralogy, University of Geneva (Supplemental Table S5) following the technique described by Chiaradia et al., (2011). About 130 mg of powdered rock fractions (<70 µm) were dissolved in closed Teflon vials during 7 days on a hot plate at 140°C with a mixture of 4 ml conc. HF and 1 ml HNO3 15 M. The sample was then dried on a hot plate, and again dissolved in 3 ml of 15M HNO3 in closed Teflon vials at 140°C and dried down again. Sr, Nd and Pb separation was carried out using cascade columns with Sr-spec, TRU-spec and Ln-spec resins following a modified method after Pin et al., (1994). Pb was further purified with a AG-MP1-M anion exchange resin in hydrobromic medium.

Pb, Sr and Nd isotope ratios were measured on a Thermo TRITON mass spectrometer on Faraday cups in static mode. Pb was loaded on Re filaments using the silica gel technique and all samples (and standards) were measured at a pyrometer controlled temperature of 1220°C. Pb isotope ratios were corrected for instrumental fractionation by a factor of 0.07% per amu based on more than 90 measurements of the SRM981 standard and using the standard values of Todt et al., (1996). External reproducibilities for the standards are 0.08% for 206Pb/204Pb, 0.12% for 207Pb/204Pb and 0.16% for 208Pb/204Pb.

Sr was loaded onto single Re filaments with a Ta oxide solution and measured at a pyrometer-controlled temperature of 1480°C in static mode using the virtual amplifier design to cancel out biases in gain calibration among amplifiers. 87Sr/86Sr values were internally corrected for fractionation using a 88Sr/86Sr value of 8.375209. Raw values were further corrected for external fractionation by +0.03‰, determined by repeated measurements of the SRM987 standard (87Sr/86Sr = 0.710250). External reproducibility of 87Sr/86Sr for the SRM987 standard is 7 ppm. Nd was loaded on double Re filaments with 1M HNO3 and measured in static mode with the virtual amplifier design. 143Nd/144Nd values were internally corrected for fractionation using a 146Nd/144Nd value of 0.7219 and the 144Sm interference on 144Nd was monitored on the mass 147Sm and corrected by using a 144Sm/147Sm value of 0.206700. External reproducibility of the JNdi-1 standard (Tanaka et al., 2000) is <5 ppm.

References:

Morishita, T., Ishida, Y., Arai, S., 2005. Simultaneous determination of multiple trace element compositions in thin (b30 μm) layers of BCR-2G by 193 nm ArF excimer laser ablation–ICP–MS: implications for matrix effect and element fractionation on quantitative analysis. Geochemical Journal 39, 327–340.

Ottley, C.J., Pearson, D.G., Irvine, G.J., 2003. A routine method for the dissolution of geological samples for the analysis of REE and trace elements via ICP-MS. In: Holland, J.G., Taner, S.D. (Eds.), Plasma Source Mass Spectrometry. Applications and Emerging Technologies, The Royal Society of Chemistry, pp. 221–230.

Pin, C., Briot, D., Bassin, C. & Poitrasson, F., 1994. Concomitant separation of strontium and samarium-neodymium for isotopic analysis in silicate samples, based on specific extraction chromatography. Analytica Chimica Acta, 298, 209-217.

Potts, P.J., Tindle, A.G., Webb, P.C., 1992. Geochemical Reference Materials Compositions, Rocks, Minerals, Sediments, Soils, Carbonates, Refractories and Ores Used in Research and Industry. Whittles Publishing, Caithness.

Todt, W., Cliff, R.A., Hanserr, A., Hofmann, A.W., 1996. Evaluation of a 202Pb–205Pb double spike for high-precision lead isotope analysis. In: Basu, S.H.A.A., (Ed.), Earth Processes, Reading the Isotope record, AGU.